[image: image3.png]/‘ HAMPTON ROADS

PLANNING DISTRICT COMMISSION






SECTION 104
SCOPE OF WORK

I. INTENT OF AGREEMENT

1.1 The intent of the Agreement is to provide for completion of the Work specified therein.

1.2 If, during the performance of the Work, the Contractor finds a conflict, error or discrepancy in the Contract Documents, the Contractor shall so report to the Owner in writing at once and before proceeding with the Work affected thereby, except in the case of emergency or public safety, shall obtain a written interpretation or clarification from the Owner however, the Contractor shall not be liable to the Owner for failure to report any conflict, error or discrepancy in the Contract Documents unless the Contractor has actual knowledge thereof or should reasonably have known thereof.

II. AMENDING AND SUPPLEMENTING CONTRACT DOCUMENTS

2.1 The Contract Documents may be amended to provide for additions, deletions and revisions in the Work or to modify the terms and conditions thereof by a Change or Field Order pursuant to Section 109 II.

III. EXPLORATIONS AND REPORTS

3.1 Reference is made to the Special Provisions for identification of those reports of explorations and tests of subsurface conditions at the site that have been utilized by the Owner in preparation of the Contract Documents.  

3.2 The Contractor shall visit the site of the proposed Work and make such explorations as the Contractor determines to be necessary.

IV. UNDERGROUND FACILITIES

4.1 The information and data shown or indicated in the Contract Documents with respect to existing Underground Facilities at or contiguous to the site is based on information and data furnished to the Owner or Engineer by the owners of such Underground Facilities or by others.

4.2 The Owner and Engineer shall not be responsible for the accuracy or completeness of any such information and data. The Contractor shall have full responsibility for reviewing and checking all such information and data, for locating all Underground Facilities shown or indicated in the Contract Documents, for coordination of the Work with the owner’s of such Underground Facilities during construction, for the safety and protection of said facilities, and repairing any damage thereto resulting from the Work, the cost of all of which will be considered as having been included in the Contract Base Bid.

4.3 If an Underground Facility is uncovered or revealed at or contiguous to the site which was not shown or indicated in the Contract Documents and which the Contractor could not reasonably have been expected to be aware of, the Contractor shall, promptly after becoming aware thereof and before performing any Work affected thereby, identify and immediately notify the owner of such Underground Facility and give written Notice thereof to that owner and to the Owner. The Owner will promptly review the Underground Facility to determine the extent to which the Contract Documents should be modified to reflect and document the consequences of the existence of the Underground Facility, and the Contract Documents will be amended or supplemented to the extent necessary. During such time the Contractor shall be responsible for the safety and protection of any such Underground Facility which is in service or which is to be placed in service. The Contractor shall be allowed an increase in the Contract Price or an extension of the Contract Time, or both, to the extent that they are attributable to the existence of any Underground Facility in service or which is to be placed in service, which directly and unavoidably impacts the installation of the Work, that was not shown or indicated in the Contract Documents and which the Contractor could not reasonably have been expected to be aware of.  

4.4 If the existence of an Underground Facility described above unavoidably impacts the installation of the Work, the Contractor shall, to the fullest extent possible, continue the Work on other portions of the site. All delays must be shown by the Contractor to be directly attributable to said unforeseen conditions and limited to the time actually occasioned by such unforeseen conditions, and that the Contractor has prosecuted the other portions of the Work to the fullest extent possible.

4.5 The Contractor shall comply with the Underground Utility Damage Prevention Act, Section 56-265.14 through 56-26532, Code of Virginia of 1950, as enacted and amended, and shall be responsible for notifying the owners of utilities and requesting the locating and marking of all underground facilities before beginning any excavation.

4.6 The Contractor should be aware that in some instances buried cables, gas lines, sewer lines, and water lines 2-inches and smaller in diameter may have to be excavated by hand and slightly relocated to facilitate construction of the Work under this Agreement. This shall be considered incidental to the Work, and the Contractor will not be eligible for additional compensation.

4.7 At points where the Contractor’s operations are adjacent to the properties of any utility, including railroads, and damage to which might result in considerable expense, loss, or inconvenience, Work shall not commence until arrangements necessary for the protection thereof have been completed.

4.8 The Contractor shall cooperate with owners of utility lines so that removal and adjustment operations may progress in a reasonable manner, duplication of adjustment work may be reduced to a minimum, and services rendered by those parties will not be unnecessarily interrupted.

4.9 If any utility service is interrupted as a result of accidental breakage or of being exposed or unsupported, the Contractor shall promptly notify the proper authority and shall cooperate with the authority in the restoration of service. If utility service is interrupted, repair work shall be continuous until service is restored. The Contractor shall be responsible for any damage to utilities that are attributable to his neglect or methods of performing the Work.

V. SUBSURFACE CONDITIONS

5.1 The Contractor shall promptly, and if possible, before such conditions are disturbed, except in the event of an emergency, notify the Owner by written Notice of:

A. subsurface or latent physical conditions at the site differing materially from those indicated in the Contract Documents; or

B. unknown physical conditions at the site, of an unusual nature, differing materially from those ordinarily encountered and generally recognized as inherent in Work of the character provided for in the Contract Documents.

5.2 The Owner shall promptly investigate the conditions, and if it is confirmed that such conditions do so materially differ and cause an increase or decrease in the cost of, or in the time required for, performance of the Work, an equitable adjustment shall be made and the Agreement shall be modified by a Change Order. Any claim of the Contractor for adjustment hereunder shall not be allowed unless the Contractor has given the required written Notice; provided that the Owner may, if the facts so justify, consider and adjust any such claims asserted before the date of final payment.

5.3 All required written Notices shall be submitted to the Owner within 20 Days after occurrence of the event giving rise to such claim, or within 20 Days after the claimant recognizes the condition, whichever is later.

VI. SITE SECURITY

6.1 The Contractor shall be responsible for the security and safety of all project facilities including, but not limited to, all equipment, materials, site structures, and construction thereon. All security measures deemed necessary by the Contractor to comply with this requirement shall be at the Contractor’s expense at no additional cost to the Owner. The Contractor shall be responsible for all site security until final acceptance of the Work by the Owner.
VII. CLEAN-UP, DISPOSAL AND RESTORATION

7.1 The Contractor shall maintain the site of the project in an orderly and clean condition and shall at intervals of no more than three (3) working days and at its expense, remove and legally dispose of accumulations of rubbish or refuse materials, surplus concrete, mortar and excavated materials not required or suitable for backfill from public and private property and rights-of-way. Washings from concrete mixers or mixing boxes shall not be deposited directly or indirectly in the drainage or sewer system or on paved streets. The Contractor shall keep the site, inclusive of vehicular and pedestrian traffic routes through the site, free of dirt and dust by periodic blading, power brooming, watering or other approved means. Road surfaces adjacent to the Work area shall be cleaned of soil with mechanical brooms or other approved methods at the end of each working day. Road shoulders and driveways shall be stabilized so as to allow traffic flow (including mail and paper delivery vehicles, school buses and emergency vehicles) by the end of each working day.

7.2 The Contractor shall confine all equipment, the storage of materials and equipment, and the operations of workmen to areas permitted by law, ordinances, permits, or the requirements of the Contract Documents, and shall not unreasonably encumber the premises with materials or equipment.

7.3 The Contractor shall not load nor permit any part of any structure to be loaded with weights that will endanger the structure, nor shall any part of the Work be subjected to stresses or pressures that will endanger it.

7.4 Upon completion and before final acceptance of the Work performed under the Agreement, the Contractor shall remove and legally dispose of all rubbish, surplus or discarded materials, false work, forms, temporary structures, field offices, signs, temporary erosion and siltation control measures, and equipment and machinery, and shall leave the site and ground occupied in connection with the performance of the Work in the conditions existing before the Work was started, to the satisfaction of the Owner. 

7.5 All waste materials, including but not limited to excavated materials, demolished pavement, arboreal (landscaping) waste and other debris, that are not suitable for Project related purposes (e.g., backfill) or are surplus to the needs of the Project, both as determined by the Owner, shall become the property of the Contractor. The Contractor shall dispose of all such material in accordance with his accepted Disposal Plan, as specified below, at no additional cost to the Owner.

A. The Contractor shall submit a Disposal Plan for review and acceptance by the Owner prior to performing any Work that might generate waste materials. The plan shall include a complete description of the materials that are expected to be encountered and their proposed disposal site(s). The Contractor may change his Disposal Plan only by written notice to the Owner. The acceptance of a plan and/or any related notice to the Owner must be evidenced by a written response from the Owner.

B. The Contractor shall insure that all permits related to his disposal operations have been obtained, and the Contractor shall comply with all requirements of those permits. The Contractor shall show evidence that all required permits have been obtained for all disposal sites by submitting a copy of all such permits to the Owner as part of the Contractor's Disposal Plan.

End of Section
[image: image1.png]~

Aya

HAMPTON ROADS

PLANNING DISTRICT COMMISSION




June 2016




104 - 1
[image: image2.emf]SECTION 806     HORIZONTAL DIRECTIONAL DRILLING       I.   GENERAL     1.1.   DESCRIPTION OF WORK     A.   The Contractor  shall  furnish all labor, material, and equipment necessary t o perform a complete  horizontal   directional ly   drilled (HDD) pipeline installation at the location(s) sho wn on the  Drawings . In the HDD process, the casing pipe typically serves as the carrier pipe and is  referenced as such herein.  When so indicated on the  Drawings , the Contractor may be required to  install a carrier pipe inside the casing pipe.      B.   Carrier pi pe shall be HDPE in conformance with Section 200 .     C.   Directional drilling and pipe installation shall be performed only by an experienced Contractor  specializing in directional drilling and whose key personnel have at least 5 years experience in  this Work ,  i n particular,  pilot hole steering  and  position monitoring .     D.   The Work shall be constructed in accordance with the Contract Documents and the applicable  laws, rules, ordinances, and permits of regulatory agencies including the Virginia Department of  Environm ental Quality, the US Army Corps of  Engineers , and other local, state and federal  agencies having jurisdiction.      1.2.   EQUIPMENT     A.   Equipment shall include, but not be limited to carrier pipe, HDD Equipment, solids removal and  water clean - up equipment, pipeline i nstallation equipment, earth moving equipment, survey  equipment, trailer cleaning pigs, caliper pigs, and temporary pig launchers and receivers.      B.   The equipment used in HDD shall be of adequate commercial size and satisfactory working  condition for safe op eration, and may be subject to approval by the Owner. Such approval,  however, shall not relieve the Contractor of the responsibility for making a satisfactory  installation meeting the criteria set forth herein.     C.   The HDD equipment shall be steerable by mean s of an electronic tool directional system and shall  provide a layer of clay (bentonite) to completely seal around the installed carrier pipe.  The HDD  equipment shall have sufficient strength to drill the pilot hole, ream the hole to adequate diameter,  an d pull the carrier pipe through the hole for the length and pipe diameter indicated.     D.   Drill pipe shall be API steel drill pipe, Range 2, Premium Class or higher, Grade S - 135 in a  diameter sufficient for the torque and longitudinal loads and fluid capacitie s required for the  Work .  Only drill pipe inspected under API’s Recommended Practice Specification API RP 7G  within 30  Days   prior to start and certified as double white band or better shall be used.    


Project Title

Date

Owner

Bid Number

[image: image2.emf]
Bid Number

[image: image3.png]_1280731224.psd

