[image: image3.png]/‘ HAMPTON ROADS

PLANNING DISTRICT COMMISSION






SECTION 106

CONTROL OF MATERIAL

I. TESTS AND INSPECTIONS

1.1 All material and workmanship shall be subject to inspection, examination and test by the Owner at any time during manufacture and/or construction. The Owner shall have the right to reject defective material and workmanship or require their correction.

1.2 The Contractor shall provide at its expense the testing and inspection services required by the Contract Docu​ments. The Owner will provide at his expense all inspection and testing services not required by the Contract Documents; provided, however, the Contractor will be responsible for the payment of all failing tests. 

1.3 The Contractor shall furnish promptly without additional charge all reasonable facilities, labor, and materials, necessary and convenient for making such tests as may be designated in the Contract Documents. The Contractor shall work with the Owner and the Engineer in scheduling and coordinating Owner provided testing or inspection services.

1.4 If the Contract Documents, laws, ordinances, rules, regulations or orders of any public body having jurisdiction require any Work (or part thereto) specifically to be inspect​ed, tested, or approved by someone other than the Owner, the Contractor shall assume full responsibility for arranging and obtaining such inspections, tests or approvals, pay all costs in connection therewith, and furnish the Owner the required certificates of inspection, or approval. The Contractor shall also be responsible for arranging and obtaining and shall pay all costs in connection with any inspections, tests or approvals required for the Owner’s acceptance of materials or equipment to be incorporated in the Work, or of materials, mix designs, or equipment submitted for approval prior to the Contractor’s purchase thereof for incorporation in the Work.

1.5 Inspections, tests or approvals by the Owner shall not relieve the Contractor from its obligations to perform the Work in accordance with the requirements of the Contract Documents.

1.6 The failure of the Owner to reject or condemn materials and workmanship not conforming to the Contract Documents shall not prevent the Owner from rejecting materials and workmanship found not to be in accordance with the Contract Documents at any time prior to the acceptance of the completed Work, nor shall it be considered as a waiver of any nonconformance with the Contract Documents which may be discovered later, or as preventing the Owner at any time prior to the expiration of the guarantee period or of the expiration of any applicable statutory limitation period for legal actions for Contractor default from recovering damages for work not in accordance with the Contract Documents.

II. LABOR, MATERIALS AND EQUIPMENT

2.1 The Contractor shall provide competent, suitably qualified personnel to survey and lay out the Work and perform construction as required by the Contract Documents. The Contractor shall at all times maintain good discipline and order at the site.

2.2 Unless otherwise specified, the Contractor shall furnish and assume full responsibility for all materials, equipment, labor, transportation, construction equipment and machinery, tools, appliances, fuel, power, light, heat, telephone, water, sanitary facilities, temporary facilities and all facilities and incidentals necessary for the furnishing, performance, testing, start-up, and completion of the Work.

2.3 All materials and equipment shall be of good quality and new (manufactured within two [2] years of the Bid date), except as otherwise provided in the Contract Documents. If required by the Owner, the Contractor shall furnish satisfactory evidence (including reports of required tests) as to the kind and quality of materials and equipment. All materials and equipment shall be applied, installed, connected, erected, used, cleaned and conditioned in accordance with the instructions of the applicable Supplier except as otherwise provided in the Contract Documents.

2.4 It shall be the responsibility of the Contractor to legally dispose of all excess material at his expense unless otherwise indicated on the Drawings and/or noted in the Specifications. 

2.5 No material that is not required for the Work on this Project may be stored on site or within the Project boundaries or on land designated for Project use, unless approved by the Owner in writing prior to placement.

III. WORK BY OWNER

3.1 The Owner may perform other work related to the Project at the site by the Owner’s own forces, have other work performed by utility owners, or let other direct contracts for Work at the site. If the fact that such other work is to be performed was not noted in the Contract Documents, Written Notice will be given to the Contractor prior to starting any such other work.

End of Section
[image: image1.png]~

Aya

HAMPTON ROADS

PLANNING DISTRICT COMMISSION




June 2016




106 - 2
[image: image2.emf]SECTION 806     HORIZONTAL DIRECTIONAL DRILLING       I.   GENERAL     1.1.   DESCRIPTION OF WORK     A.   The Contractor  shall  furnish all labor, material, and equipment necessary t o perform a complete  horizontal   directional ly   drilled (HDD) pipeline installation at the location(s) sho wn on the  Drawings . In the HDD process, the casing pipe typically serves as the carrier pipe and is  referenced as such herein.  When so indicated on the  Drawings , the Contractor may be required to  install a carrier pipe inside the casing pipe.      B.   Carrier pi pe shall be HDPE in conformance with Section 200 .     C.   Directional drilling and pipe installation shall be performed only by an experienced Contractor  specializing in directional drilling and whose key personnel have at least 5 years experience in  this Work ,  i n particular,  pilot hole steering  and  position monitoring .     D.   The Work shall be constructed in accordance with the Contract Documents and the applicable  laws, rules, ordinances, and permits of regulatory agencies including the Virginia Department of  Environm ental Quality, the US Army Corps of  Engineers , and other local, state and federal  agencies having jurisdiction.      1.2.   EQUIPMENT     A.   Equipment shall include, but not be limited to carrier pipe, HDD Equipment, solids removal and  water clean - up equipment, pipeline i nstallation equipment, earth moving equipment, survey  equipment, trailer cleaning pigs, caliper pigs, and temporary pig launchers and receivers.      B.   The equipment used in HDD shall be of adequate commercial size and satisfactory working  condition for safe op eration, and may be subject to approval by the Owner. Such approval,  however, shall not relieve the Contractor of the responsibility for making a satisfactory  installation meeting the criteria set forth herein.     C.   The HDD equipment shall be steerable by mean s of an electronic tool directional system and shall  provide a layer of clay (bentonite) to completely seal around the installed carrier pipe.  The HDD  equipment shall have sufficient strength to drill the pilot hole, ream the hole to adequate diameter,  an d pull the carrier pipe through the hole for the length and pipe diameter indicated.     D.   Drill pipe shall be API steel drill pipe, Range 2, Premium Class or higher, Grade S - 135 in a  diameter sufficient for the torque and longitudinal loads and fluid capacitie s required for the  Work .  Only drill pipe inspected under API’s Recommended Practice Specification API RP 7G  within 30  Days   prior to start and certified as double white band or better shall be used.    


Project Title

Date

Owner

Bid Number
[image: image2.emf]
Bid Number

[image: image3.png]_1280731224.psd

